QUOTATION

To.

| Mr. syed faras ahmad - purchase department M/S. al ishrak contaractin Co L.L.C Phone: +971 521518676 Email: faraz.ahmad@alishrak.com | Date : 02/02/26 Page : 1/2 Quote No : COL/2602/VK/1082 |
| --- | --- |

Subject           : supply and installation of grp panel water tank

Project            : satwa

Dear Sir,

With reference to your enquiry, we would like to give our competitive offer for supply and installation of grp panel water tank  as follows

| SL. NO. | ITEM DESCRIPTION | UNIT | QTY | UNIT PRICE (AED) | TOTAL PRICE (AED) |
| --- | --- | --- | --- | --- | --- |
| GRP SECTIONAL WATER TANK - 10 YEAR WARRANTY - PIPECO TANKS® MALAYSIA - WITHOUT SKID - INTERNAL SS 316 AND EXTERNAL HDG SUPPORT SYSTEM |  |  |  |  |  |
| 1 | OPTION I Tank 1 (Without Partition) Type : HOT PRESSED – 5 SIDE INSULATED (BOTTOM & MANHOLE NON – INSULATED) Size : 2 M (L) X 2 M (W) X 1.0 M (H) Total Capacity : 4.00 M³ (1057 USG) | Nos | 2 | 4320.00 | 8640.00 |
|  | OPTION II Tank 1 (Without Partition) Type : HOT PRESSED – NON INSULATED Size : 2 M (L) X 2 M (W) X 1.0 M (H) Total Capacity : 4.00 M³ (1057 USG) | Nos | 2 | 3680.00 | 7360.00 |
| 2 | OPTION I Tank 2 (Without Partition) Type : HOT PRESSED – 5 SIDE INSULATED (BOTTOM & MANHOLE NON – INSULATED) Size : 1.5 M (L) X 1 M (W) X 1.0 M (H) Total Capacity : 1.50 M³ (396 USG) | Nos | 2 | 2520.00 | 5040.00 |
|  | OPTION II Tank 2 (Without Partition) Type : HOT PRESSED – NON INSULATED Size : 1.5 M (L) X 1 M (W) X 1.0 M (H) Total Capacity : 1.50 M³ (396 USG) | Nos | 2 | 2160.00 | 4320.00 |

DURING MAINTENANCE OF THE PARTITION TANK, THE WATER LEVELS IN EACH COMPARTMENT SHOULD BE REDUCED EQUALLY.

THE MAXIMUM ALLOWABLE WATER HEIGHT IN EACH COMPARTMENT IS UPTO 1 MTR HEIGHT

THE ABOVE TANK ONLY SUITABLE FOR STORING PORTABLE/ DRINKING WATER EXCEPT CHEMICAL /SOLID/TSE WATER.

THE OFFER IS VALID FOR 30 DAYS FROM THE QUOTATION DATE.

THE WARRANTY WILL BE APPLICABLE ONLY UPON RECEIVING FULL PAYMENT.

We hope the above offer meets your requirements and awaiting the valuable order confirmation.
If you have any questions concerning the offer, please contact the undersigned.

Yours truly,

For COLEX TANKS TRADING L.L.C

| Vismay Krishnan Sales Executive |  |
| --- | --- |

MATERIAL SPECIFICATION: -

➢  WRAS Approved Product.

➢  Sealant Tape – Non-Toxic PVC Foam Type.

➢  Roof Panel Vertical Support (Internal) – PVC Pipe.

➢  All Internal Metallic parts in continuous contact with water are Stainless Steel 316/A4 grade and External HDG Support Accessories with HDG Bolt/Nut/Washers.

➢  Manhole: 750mm Dia. with sealed cover and Lock. – 1 No.

➢  For 1 Mtr. height tank, Wall flat – 1 No. & Drain flat – 1 No.

➢  Clear Tube type level Indicator (Without Marking) for 2 Mtr. height tank and above only.

➢  HDG Steel Skid with HDG Bolt / Nut / Washer for 2 Mtr. height tank and above only.

➢  Internal Ladder (GRP) and External Ladder (HDG) for 2 Mtr. height tank and above only.

➢  Air Vent, Inlet, Outlet, Overflow and Drain – 1 No. each with PVC flange (FL/PL) connections up to 3”.

➢  Manufacturer Warranty: 10 Year from the date of installation / testing and commission.

THE WARRANTY WILL NOT BE APPLICABLE FOR THE FOLLOWING CASES:

➢  Any damage / loss caused directly or indirectly by natural calamities or any other force majeure conditions beyond the control of the supplier.

➢  Any damage occurs due to storing any chemicals, solids, or any other substances. (The proposed tank is specifically designed and intended only for potable / drinking water storage).

➢  Any defects or damage occur on the foundation that affect the tank.

➢  Any unauthorized modification or repairs made on the tank by parties other than the manufacturer representatives.

TERMS AND CONDITIONS: -

➢  Price                 : The given prices are based on the supply and installation of the tank at your proposed site.

➢  Validity                 : The offer is valid for 30 days only.

➢  Delivery                 : One week from the receipt of advance payment.

➢  Payment                 : Cash/CDC. 40% advance along with the confirmed order and 60% upon delivery of the material at the site. (In the event of late payment, a late payment charge of 2% per month on the contract value will be applied till the outstanding payment is settled).

SUPPLIER SCOPE: -

➢  Dismantling of existing tank.

➢  Material offloading, safe storage, and shifting near the foundation

➢  Crain/Boom Loader/other facilities for offloading.

➢  Supply, installation & supervision for T & C of the tank at the site.

➢  Other plumbing works / Float Valves/ Valves / Float Switches.

➢  Basic Hand Toolbox.

➢  Surveyors Equipment’s for base skid levelling.

➢  Power Tools – Welding/Grinder/Drill/Tighter Machine /Cables.

➢  Flanges as mentioned in the offer.

CUSTOMER SCOPE: -

➢  Material offloading, safe storage, and shifting near the foundation.  (If the offloading and lifting team is not ready upon our vehicle’s arrival, the delivery may be rescheduled, and a maximum charge of AED 1000 will be applied to the customer for rescheduling).

➢  Crain/Boom Loader/other facilities for offloading.

➢  Other plumbing works / Float Valves/ Valves / Float Switches.

➢  Scaffolding as per the site condition.

➢  Flanges other than specified.

➢  Water Thermos & Rest Rooms to be provided by the Contractor/Client.

➢  Electricity/Generator for installation and water for testing.

➢  Accommodation for the technical staff should be provided by the client/contractor.

➢  Grouting, if required for levelling the tank foundation. (After completing the skid work for clearing the space between the base skid and plinth). After the grouting process, a minimum of 3 days will be required to schedule the installation.

➢  In case of any leakage detected after filling the tank, it shall be drained out (if required) and bear any related expenses for refilling the tank for retesting after the rectification.

➢  Any obligations, including entry permits, labour passes and risk liability insurance policy charges etc.